## BOQ
GOLDEN LINK CONTRACTING & DECORATION LLC
Showroom No. 1
Al Thani Bldg., Al Garhoud
Dubai . UAE
Tel : 043885425 Fax : 043885426
Email : goldnlnk@eim.ae, madhu@golden-link.com
Website : www.golden-link.com
Project | : Construction of G Only Villa |  |  |  | Ref. No: GCD/QLS/2445
Plot No | : 71115017 |  |  |  | Date:
Location | : Al Awir First |  |  |  | BUILT UP AREA: 248.68 m2
Client | : ISSA YAQOUB ISSA MOHAMAD
Consultants | : Talent Engineering Consultants
BOQ
S. NO. | Description | Unit | Qty | Rate | Amount | Total | Remarks
1 | Preliminaries
| Mobilization and Area Grading and Cleaning of Site | L.S. | 1 | 30000 | 30000
30000
2 | Sub Structure
2.01 | Excavation for foundation | m3 | 660 | 8 | 5280
2.02 | Compaction | m2 | 508 | 6 | 3048
2.03 | Polythene Sheet 1000 Guage | m2 | 1020 | 8 | 8160
2.04 | P.C.C below Footing | m3 | 17 | 600 | 10200
2.05 | R.C.C Isolated Footing | m3 | 52 | 1400 | 72800
2.06 | R.C.C Neck Column & Walls | m3 | 3 | 1800 | 5400
2.07 | Bitumen Paint | m2 | 800 | 6 | 4800
2.08 | Back Filling | m3 | 588 | 6 | 3528
2.09 | Solid Block Work | m2 | 80 | 140 | 11200
2.1 | PCC Below Tie Beam | m3 | 5 | 900 | 4500
2.11 | RCC Tie Beam | m3 | 13 | 1500 | 19500
2.12 | Wall Footing | m3 | 7 | 1600 | 11200
2.13 | RCC grade Slab | m3 | 25 | 900 | 22500
2.14 | RCC Steps for entrance | m3 | 8 | 1600 | 12800
2.15 | Solid Blocks for Entrance steps | m2 | 20 | 160 | 3200
2.16 | Anti-Termite. Treatment | L.S | 1 | 1000 | 1000
199116
3 | Super Structure
3.01 | R.C.C Column and walls | m3 | 10 | 1500 | 15000
3.02 | R.C.C Beam | m3 | 16 | 1500 | 24000
3.03 | RCC Solid slab | m3 | 58 | 1400 | 81200 |  |  | Porcelain
3.04 | R.C.C Lintels & Arches | LS | 1 | 5000 | 5000 |  |  | Entrance Lobby | 4.7 | 5.6 | 26.32 |  | 15
3.05 | R.C.C Parapet Coping beam | m3 | 4 | 1500 | 6000 |  |  | Majlis | 4.95 | 6.2 | 30.69 |  | 22.3
3.06 | P.C.C for A,C & Water tank base | L.S. | 1 | 2000 | 2000 |  |  | Majlis | 2 | 1.2 | 2.4 |  | 4.4
[6 empty] | 118200 |  | bed1 | 4.35 | 4.25 | 18.4875 |  | 17.2 | [8 empty] | Insulated block
[8 empty] | Bed2 | 4.9 | 5.45 | 26.705 |  | 20.7 | [8 empty] | 74.58 | 3.38 | 252.0804
4 | Block Work | [6 empty] | bed3 | 4.9 | 4.3 | 21.07 |  | 18.4
4.01 | Insulated block wall | m2 | 232 | 150 | 34800 |  |  | Dress1 | 2.55 | 2.7 | 6.885 |  | 10.5 | [8 empty] | Hollow
4.02 | 200mm internal thick. hollow block wall | m2 | 260 | 140 | 36400 |  |  | Dress2 | 1.6 | 2.4 | 3.84 |  | 8 | [8 empty] | 67.65 | 3.85 | 260.4525
4.03 | 100mm internal thick. hollow block wall | m2 | 62 | 120 | 7440 |  |  | Dress3 | 1.6 | 2.4 | 3.84 |  | 8
4.04 | Block work for parapet | m2 | 92 | 130 | 11960 |  |  | Passage | 5.4 | 1.1 | 5.94 |  | 13 | [8 empty] | 10cm
4.05 | DPC membrane under block | LM | 230 | 12 | 2760 |  |  | Passage | 4.95 | 1.2 | 5.94 |  | 12.3 | [8 empty] | 15.9 | 3.85 | 61.215
4.06 | Block Work Accessories | LS | 1 | 1000 | 1000 |  |  | maid | 3.3 | 2.25 | 7.425 |  | 11.1
[6 empty] | 94360 |  |  |  |  | 159.5425 | 0 | 160.9 | [8 empty] | parapet
[11 empty] | 163.5311 | 0 | [9 empty] | 53.7 | 1 | 53.7
5 | Flooring and Skirting | [17 empty] | Steps |  |  | 14.92 | 2.1 | 31.332
5.01 | Supply & Installation of Granite for main Entrance & back Entrance | m2 | 41 | 250 | 10250 |  | PC rate @ 100/m2 | [10 empty] | rear | 2.1 | 10 | 21 | 3.92 | 1.8 | 7.056
5.02 | Supply & Installation of Granite skirting | LM | 23 | 35 | 805 |  | PC rate @ 15/LM | Ceramic Non slip | [10 empty] | 16.8 | 0.15 | 2.52 |  |  | 92.088
5.03 | Supply & Installation of Porcelain Tiles for Entrance Lobby, Majlis, Bedrooms, Dress, Passage, maid room | m2 | 163 | 160 | 26080 |  | PC rate @ 50/m2 | Kitchen | 4.95 | 4.35 | 21.5325 |  | 18.6 | 3.85 | 71.61 |  |  | main | 2.28 | 4.46 | 10.1688
5.04 | Supply & Installation of Porcelain Skirting | LM | 161 | 30 | 4830 |  | PC rate @ 15/LM | laundary | 2.8 | 2.2 | 6.16 |  | 10 | 3.85 | 38.5 |  |  |  | 17.84 | 0.15 | 2.676
5.05 | Supply & Installation of Non Slip Floor Ceramic Tiles | m2 | 56 | 150 | 8400 |  | PC rate @ 40/m2 | Store | 1.95 | 2.15 | 4.1925 |  | 8.2 | [5 empty] | 1.2 | 1.5 | 1.8
5.06 | Screeding 7.5cm for flooring | m2 | 260 | 90 | 23400 |  |  | Maid Bath | 1.55 | 2.25 | 3.4875 |  | 7.6 | 3.85 | 29.26 | [5 empty] | 38.1648
5.07 | Installation of Thresholds | LM | 14 | 120 | 1680 |  |  | Toielt | 1.7 | 1.8 | 3.06 |  | 7 | 3.85 | 26.95 | [5 empty] | 40.073
[6 empty] | 75445 |  | Wash | 1.95 | 1.8 | 3.51 |  | 7.5 | 3.85 | 28.875
[8 empty] | bath1 | 1.8 | 2.7 | 4.86 |  | 9 | 3.85 | 34.65 |  |  |  |  | 21.72
6 | Ceramic wall Cladding | [6 empty] | bath2 | 1.9 | 2.4 | 4.56 |  | 8.6 | 3.85 | 33.11
6.01 | Installation of Ceramic Wall tiles | m2 | 296 | 160 | 47360 |  | PC rate @ 40/m2 | bath3 | 1.9 | 2.4 | 4.56 |  | 8.6 | 3.85 | 33.11
[6 empty] | 47360 |  |  |  |  | 55.9225 |  | 85.1 |  | 296.065
7 | Internal Walls and Ceiling Finishes
7.01 | Plaster for Ceiling | m2 |  | 0 | 0 |  | NA
7.02 | Plaster for wall | m2 | 947 | 40 | 37880
7.03 | Internal Wall Paint from jotun | m2 | 651 | 30 | 19530
[6 empty] | 57410 |  | Plastereing | 246 | 3.85 | 947.1
8 | False Ceiling Work
8.01 | False ceiling | L.S. | 1 | 20000 | 20000 |  | PS Item
8.02 | Builders work | L.S. | 1 | 1000 | 1000
21000
9 | External Wall Finishes | [6 empty] | External plastering
9.01 | External Plastering | m2 | 522 | 45 | 23490 |  |  | 53.9 | 6.9 | 371.91
9.02 | External Decore Finishes if any | [5 empty] | By Client | 15.12 | 7.65 | 115.668
9.04 | External Painting | m2 | 522 | 35 | 18270 |  |  | 5.28 | 6.61 | 34.9008
[6 empty] | 41760 |  |  |  | 522.4788
13 | Aluminum Works (Windows & Doors) | [6 empty] | Alumnum window
13.01 | Supply and Fixing of Aluminum Windows and Glazing works | m2 | 36 | 900 | 32400 |  |  | W1 | 2 | 4 | 1 | 8
[6 empty] | 32400 |  | W2 | 1.5 | 4 | 1 | 6
[8 empty] | W3 | 2 | 2 | 0 | 0
14 | Metal works | [6 empty] | W4 | 1.5 | 2 | 4 | 12
14.02 | Spiral Stairs | No.s | 1 | 12000 | 12000 |  |  | W5 | 0.6 | 2 | 6 | 7.2
14.04 | Builders Work | LS | 1 | 2000 | 2000 |  |  | W6 | 0.5 | 4 | 1 | 2
[6 empty] | 14000 | [5 empty] | 35.2
15 | Glass Partitions in Bathrooms
15.01 | Glass Partitions in Bathrooms | L.S | 1 | 0 | 0 |  | By Client
0
16 | Carpentry & joinery work
16.01 | Supply and Fix of Wooden Main Door with Curtain wall 3.6X4 | no. | 1 | 8000 | 8000 |  | PS Item
16.01 | Supply and Fix of internal Wooden Doors including iron mongery -13 No.s | LS | 1 | 20000 | 20000 |  | PS Item
16.03 | Supply and installtion of Kitchen Cabinet | L.S. | 1 | 20000 | 20000 |  | PS Item
16.04 | Supply and installation of Dressing cabinet | L.S. | 1 | 0 | 0 |  | excluded
16.05 | Main Contractor fixed markup for OH & Profit | L.S. | 1 | 0 | 0
48000
17 | Water Proofing
17.01 | Roof area water proofing - Combo type | m2 | 249 | 130 | 32370
17.02 | Wet area water proofing | m2 | 56 | 70 | 3920
36290
19 | Plumbing & Sanitary work
19.01 | Plumbing Work | L.S | 1 | 44000 | 44000
19.06 | Supply only of Sanitary Fittings | LS | 1 | 15000 | 15000 |  | PS Item
26.01 | Supply and installation of Solar Heater System | L.S | 1 | 8000 | 8000 |  | PS Item
19.07 | Builders Work | LS | 1 | 1000 | 1000
68000
20 | Internal and External Drainage Work
20.01 | Internal and External Drainage Work | L.S. | 1 | 20000 | 20000
20000
21 | Electrical Work
21.01 | Electrical Work | L.S | 1 | 65000 | 65000
23.01 | Supply and fix all exhaust fans | No.s | 8 | 900 | 7200
22.01 | Supply of lights fittings | L.S | 1 | 6000 | 6000 |  | PS Item
78200
27 | Supply and Installation of Air-conditioning System & fresh air
27.01 | Air condition Work | L.S | 1 | 45000 | 45000 |  | PS Item
27.02 | Builders Work | L.S | 1 | 3000 | 3000
48000
28 | Fire Fighting &Fire Alarm Works
28.01 | Fire Fighting &Fire Alarm Works | LS | 1 | 1000 | 1000
1000
29 | Intercom, Structral Cabling and CCTV Works
29.01 | Low Current Systems | L.S | 1 | 8000 | 8000 |  | PS Item
29.02 | Structural Cabling (supply and Fixing Wires Only) | L.S | 1 | 5000 | 5000 |  | PS Item
29.03 | Builders work | L.S | 1 | 2000 | 2000
15000
31 | External Works
31.01 | Supply & Installation of Interlock tiles | m2 | 379 | 80 | 30320 |  | PC Rate AED 25/m2
31.01 | Supply & Installation of Kerbstone | LM | 35 | 60 | 2100 |  | PC Rate AED 25/m2
32420
33 | Boundary Wall
33.01 | Excavation | M3 | 226 | 12 | 2712
33.02 | Back Filling | LS | 1 | 1000 | 1000
33.03 | P.C.C below Foundation | M3 | 11 | 800 | 8800 |  |  |  | 39.2 | 18.96
33.04 | R.C.C Isolated Footings | M3 | 22 | 1200 | 26400
33.05 | 200MM Thick Solid Block Work | M2 | 116 | 130 | 15080 |  |  |  | 116.32
33.06 | 1000Gauge Polytheen Sheet | M2 | 300 | 6 | 1800 | [10 empty] | 290.8
33.07 | Bituminous Paint | M2 | 500 | 6 | 3000 |  |  |  | 116 | 1.3 | 1.5 | 226.2
33.08 | R.C.C Neck Column | M3 | 2 | 1350 | 2700 | [10 empty] | 116 | 5.2 | 603.2
33.09 | Tie Beam, Column and Beam & Coping Beam | M3 | 20 | 1100 | 22000 |  |  |  | F1 | 1.2 | 1.2 | 0.35 | 41 | 20.664
33.1 | RCC Design for Gates | LS | 1 | 2000 | 2000
33.11 | 200MM Hollow Block | M2 | 291 | 120 | 34920 |  |  |  |  | 1.6 | 1.6 | 0.1 | 41 | 10.496
33.12 | Plastering | M2 | 603 | 25 | 15075
33.13 | Painting | M2 | 603 | 20 | 12060
[6 empty] | 147547 |  | TB | 116 | 0.2 | 0.4 | 9.28
[8 empty] | CB | 116 | 0.2 | 0.2 | 4.64
34 | Boundary Wall Gates | LS | 1 | 38000 | 38000 | 38000 | PS Item | Colmn | 0.2 | 0.2 | 2.5 | 48 | 4.8
18.72
| GRAND TOTAL AMOUNT |  |  |  |  | 1263508
| Discount |  |  |  |  | 13508
GRAND TOTAL AMOUNT | [5 empty] | 1250000